## SOR
SCHEDULE OF RATES FOR SUPPLY OF SUPPLY OF METER REGULATING STATION (MRS) TENDER NO. GNGPL/C&P/T-31 TENDER ID :- VCS2100007
NAME OF BIDDER:-
Sl No. | Description as per MR | Quantity | Ex-works price quoted by the bidder (including packing, forwarding, and GSTon components and raw materials but excluding Inland Transportation to Delivery Location) including cost of Inspection by Third Party Agency, etc. (wherever applicable) | Inland transportation upto Delivery location and other costs incidental to delivery of goods | GST (CGST&SGST/UTGST or IGST) on the finished goods excluding inland transportation (i.e. on cl. no. 4 ) |  | GST (CGST&SGST/UTGST or IGST) on inland transportation (i.e. on cl. no. 5) |  | Unit FOT site price incl. GST & & inland transportaion | Total FOT site price incl. all taxes & duties & inland transportaion | Harmonized System Nomenclature (HSN)
|  | (Nos.) | (INR) | (INR) | % | (INR) | % | (INR) | (INR) | (INR)
(1) | (2) | (3) | (4) | (5) | (6A) | (6B) | (7A) | (7B) | (8)= (4)+(5)+(6B)+ (7B) | (9)= (8) X (3) | (10)
Design, engineering, manufacture, integration, inspection, performance testing, supply, shipment, installation, testing, commissioning and documentation of these items in accordance with the tender requirements.
Group - A - MRS with flow capacity of 200-500 SCMH
(1): 1; (2): MRS (Meter Regulating Station) with flow capacity of 200 SCMH , Consisting of filtration, pressure regulation with regulating valves, pressure gauges, temperature gauges, pressure safety Valves , creep relief valves, Flow meter, restriction orifice, electronic volume corrector etc. as indicated in P&ID drawing number (1023-PL-PR-PID-1010) provided in MR attachments along with associated accessories including skid cabinet/canopy, instrument fittings, manifolds, JB impulse tubing with fittings, pipes, valves, NRVs, flanges, gaskets, all structure / base frame /supports / operating platforms, flame arrestors, cables and cabling from field instruments to field JBs, power cable to the skid, glands, ferrules, lugs, tags at both ends, supports, SS blind plugs, mounting stands, all applicable accessories, mandatory spare required for commissioning, solar power system along with necessary battery invertor etc.; (3): 4; (6B): 0; (7B): 0 | 0 | 0
(1): 2; (2): MRS (Meter Regulating Station) with flow capacity of 500 SCMH , consisting of filtration, pressure regulation with regulating valves, pressure gauges, temperature gauges, pressure safety Valves , creep relief valves, Flow meter, restriction orifice, electronic volume corrector etc. as indicated in P&ID drawing number (1023-PL-PR-PID-1008) provided in MR attachments along with associated accessories including skid cabinet/canopy, instrument fittings, manifolds, JB impulse tubing with fittings, pipes, valves, NRVs, flanges, gaskets, all structure / base frame /supports / operating platforms, flame arrestors, cables and cabling from field instruments to field JBs, power cable to the skid, glands, ferrules, lugs, tags at both ends, supports, SS blind plugs, mounting stands, all applicable accessories, mandatory spare required for commissioning, solar power system along with necessary battery invertor etc.; (3): 3; (6B): 0; (7B): 0 | 0 | 0
(1): 3; (2): Supervision of Installation, Testing, Commissioning of Meter Regulating Station (MRS) consisting of Filtration, Pressure reduction and Metering at respective site. The price shall be inclusive of Airfare Boarding, Lodging, Local Transport, Incidental, Traveling etc. & all other expenses.; (3): 7; (6B): 0; (7B): 0 | 0 | 0
(1): Total (Group A) |  | 0
Group - B - MRS with flow capacity of 1200-5000 SCMH
(1): 4; (2): MRS (Meter Regulating Station) with flow capacity of 1200 SCMH , consisting of filtration, pressure regulation with regulating valves, pressure gauges, temperature gauges, pressure safety Valves , creep relief valves, Flow meter, restriction orifice, electronic volume corrector etc. as indicated in P&ID drawing number (1023-PL-PR-PID-1009) provided in MR attachments along with associated accessories including skid cabinet/canopy, instrument fittings, manifolds, JB impulse tubing with fittings, pipes, valves, NRVs, flanges, gaskets, all structure / base frame /supports / operating platforms, flame arrestors, cables and cabling from field instruments to field JBs, power cable to the skid, glands, ferrules, lugs, tags at both ends, supports, SS blind plugs, mounting stands, all applicable accessories, mandatory spare required for commissioning, solar power system along with necessary battery invertor etc.; (3): 2; (6B): 0; (7B): 0 | 0 | 0
(1): 5; (2): MRS (Meter Regulating Station) with flow capacity of 5000 SCMH , consisting of filtration, pressure regulation with regulating valves, pressure gauges, temperature gauges, pressure safety Valves , creep relief valves, Flow meter, restriction orifice, electronic volume corrector etc. as indicated in P&ID drawing number (1023-PL-PR-PID-1006) provided in MR attachments along with associated accessories including skid cabinet/canopy, instrument fittings, manifolds, JB impulse tubing with fittings, pipes, valves, NRVs, flanges, gaskets, all structure / base frame /supports / operating platforms, flame arrestors, cables and cabling from field instruments to field JBs, power cable to the skid, glands, ferrules, lugs, tags at both ends, supports, SS blind plugs, mounting stands, all applicable accessories, mandatory spare required for commissioning, solar power system along with necessary battery invertor etc.; (3): 1; (6B): 0; (7B): 0 | 0 | 0
(1): 6; (2): Supervision of Installation, Testing, Commissioning of Meter Regulating Station (MRS) consisting of Filtration, Pressure reduction and Metering at respective site. The price shall be inclusive of Airfare Boarding, Lodging, Local Transport, Incidental, Traveling etc. & all other expenses.; (3): 3; (6B): 0; (7B): 0 | 0 | 0
(1): Total (Group B) |  | 0
Notes -:
1 | Bidder to quote prices for quoted Groups in each column (i.e. Unit & Total price) and ensure that total prices quoted is for complete scope and terms and conditions of Tender document.
2 | Quoted prices shall be inclusive of all other testing & inspection charges as required in Job Specification.
3 | Prices quoted at column 8 are all inclusive of applicable taxes, duties, freight, transit insurance, unloading, Third Party Inspection Charges and other incidental charges. Purchaser shall not be liable for any extra payment against the scope defined in this tender.
4 | Bidder to note that once quoted, no price change shall be allowed.
5 | Bidder shall quote prices in the given format of Schedule of Rates and shall not modify the format in any form.
6 | FOT stands for Free on Terminal delivery inclusive of packing, forwarding, handling, loading/unloading, freight and insurance up to Owner’s site inclusive of all applicable taxes & duties.
7 | In case of discrepancy between unit price and total, the unit price shall prevail.
8 | Bidder to clearly indicate 'Quoted' / 'Not Quoted' against each Sr. No. in the price column in the un-priced Schedule of Rates and submit the same in Un-priced part of the bid. Bidders to submit Price part of above Schedule of Rates in their Priced Bid.
9 | Bidder to quote full quantities of quoted items of quoted group . Item quoted with part quantities shall be liable for rejection.
10 | Bidder to include the rates of all the mandatory spares required for commissioning in their price bid. Bidder to submit Ex-works prices for mandatory spare required for operation and maintenance along with the priced bid. The submitted Ex-works prices for mandatory spare required for operation and maintenance is required for reference purpose and shall not be used for evaluation purpose.
Place: | [7 empty] | Authorized signatory of Bidder:
Date: | [7 empty] | Seal of Bidder: